## Medical_Device_Register
Medical Device Register - Project SentinelCare (WUHNFT)
Device ID | Related Asset ID | Device Name | Device Category | Manufacturer | Model | Location | Network Connectivity | Operating System | Support Status | Data Classification | Business Criticality | Owner
MD-001 | AST-020 | CT Scanner | Radiology Imaging Device | Siemens Healthineers | SOMATOM go.Up | Radiology Department - Site A | Networked - Clinical VLAN | Embedded Linux (Vendor-Managed) | Supported | Restricted | Critical | Clinical Engineering Manager
MD-002 | AST-020 | MRI Scanner | Radiology Imaging Device | GE HealthCare | SIGNA Voyager | Radiology Department - Site A | Networked - Clinical VLAN | Embedded Linux (Vendor-Managed) | Supported | Restricted | Critical | Clinical Engineering Manager
MD-003 | AST-020 | Digital X-Ray System | Radiology Imaging Device | Philips | DigitalDiagnost C90 | Radiology Department - Site B | Networked - Clinical VLAN | Windows 10 IoT Enterprise | Supported | Restricted | High | Clinical Engineering Manager
MD-004 | AST-020 | Legacy Mobile X-Ray Unit | Radiology Imaging Device | Siemens Healthineers | MOBILETT XP (legacy) | Emergency Department - Site A | Networked - Clinical VLAN | Windows 7 Embedded (Vendor EOL) | Unsupported - Risk Accepted | Restricted | High | Clinical Engineering Manager
MD-005 | AST-021 | Bedside Patient Monitor | Patient Monitoring Device | Philips | IntelliVue MX450 | Critical Care Unit - Site A | Networked - Clinical VLAN | Embedded RTOS (Vendor-Managed) | Supported | Restricted | Critical | Clinical Engineering Manager
MD-006 | AST-021 | Central Monitoring Station | Patient Monitoring Device | Philips | IntelliVue Information Center iX | Critical Care Unit - Site A | Networked - Clinical VLAN | Windows 10 IoT Enterprise | Supported | Restricted | Critical | Clinical Engineering Manager
MD-007 | AST-021 | Infusion Pump | Patient Monitoring Device | B. Braun | Infusomat Space | General Wards - Site A / Site B | Networked - Clinical VLAN (Wi-Fi) | Embedded Firmware (Vendor-Managed) | Supported | Restricted | High | Clinical Engineering Manager
MD-008 | AST-021 | Portable ECG Machine | Patient Monitoring Device | GE HealthCare | MAC 2000 | Cardiology Department - Site A | Networked - Clinical VLAN | Embedded Firmware (Vendor-Managed) | Supported | Confidential | Medium | Clinical Engineering Manager
MD-009 | AST-022 | Automated Haematology Analyser | Laboratory Analysis Equipment | Sysmex | XN-1000 | Pathology Laboratory - Site A | Networked - Corporate/Lab VLAN | Windows 10 IoT Enterprise | Supported | Restricted | Critical | Pathology Director
MD-010 | AST-022 | Clinical Chemistry Analyser | Laboratory Analysis Equipment | Roche Diagnostics | cobas c 702 | Pathology Laboratory - Site A | Networked - Corporate/Lab VLAN | Windows 10 IoT Enterprise | Supported | Restricted | Critical | Pathology Director
MD-011 | AST-022 | Legacy Microbiology Analyser | Laboratory Analysis Equipment | bioMerieux | VITEK 2 (legacy firmware) | Pathology Laboratory - Site B | Networked - Corporate/Lab VLAN | Windows 7 Embedded (Vendor EOL) | Unsupported - Risk Accepted | Restricted | High | Pathology Director